## Foglio1
Progetto REBUS : calcolo convenienza economica
1. Inserire dati nelle caselle in campo azzurro
2. Leggere risultati nelle caselle in campo verde
sup serre | mq | 3000
n. giorni riscaldamento |  | 150
ore giorno riscaldamento |  | 12
Grado di coibentazione |  | alto | basso,medio,alto
Altezza media serre | metri | 4
POTENZA GENERATORE DA INSTALLARE | Kw | 488.3721
COSTI |  | euro/ANNO |  | Risparmio
costi riscaldamento GPL |  | 164181.8182
costi riscaldamento GASOLIO |  | 128470.5882 |  | -21.75%
costi riscaldamento METANO |  | 77777.7778 |  | -52.63%
costi riscaldamento PELLET |  | 47727.2727 |  | -70.93%
costi riscaldamento LEGNA |  | 49411.7647 |  | -69.9%
costi riscaldamento CIPPATO |  | 32666.6667 |  | -80.1%
costi riscaldamento CIPPATINO |  | 32780.4878 |  | -80.03%

## Foglio2
Combustibile | Costi | unità di misura | Generatori di calore | Rendimento
GPL | 2.15 | €/kg | Caldaia a GPL | 0.9
Gasolio | 1.3 | €/l | Caldaia a gasolio | 0.9
Metano | 0.75 | €/m³ | Caldaia a metano | 0.9
Pellet | 0.25 | €/kg | Caldaia a pellet | 0.9
Legna | 0.2 | €/kg | Caldaia a legna | 0.9
Cippato | 0.14 | €/kg | Caldaia a cippato | 0.9
Cippatino | 0.16 | €/kg | Caldaia a cippatino | 0.9
Combustibile | PCI = potere calorifico inferiore | unità di misura | Grado di coibentazione | Valore | unità di misura
GPL | 11000 | kcal/kg | Basso | 45 | kcal/h x m³
Gasolio | 8500 | kcal/l | Medio | 40 | kcal/h x m³
Metano | 8100 | kcal/m³ | Alto | 35 | kcal/h x m³
Pellet | 4400 | kcal/kg
Legna | 3400 | kcal/kg
Cippato | 3600 | kcal/kg
Cippatino | 4100 | kcal/kg

## _SSC (hidden)
{"IsHide":false,"HiddenInExcel":false,"SheetId":-1,"Name":"Foglio1","Guid":"Z8BWLJ","Index":1,"VisibleRange":"","SheetTheme":{"TabColor":"","BodyColor":"","BodyImage":""}} | {"InputDetection":0,"RecalcMode":0,"Layout":0,"LayoutSamePagesHeightEnabled":false,"Theme":{"BgColor":"#FFFFFFFF","BgImage":"","InputBorderStyle":2,"AppliedTheme":""},"SmartphoneSettings":{"ViewportLock":true,"UseOldViewEngine":false,"EnableZoom":false,"EnableSwipe":false,"HideToolbar":false,"InheritBackgroundColor":false,"CheckboxFlavor":1,"ShowBubble":false},"Name":"","Flavor":0,"Edition":0,"CopyProtect":{"IsEnabled":false,"DomainName":""},"HideSscPoweredlogo":false,"AspnetConfig":{"BrowseUrl":"http://localhost/ssc","FileExtension":0},"NodeSecureLoginEnabled":false,"SmartphoneTheme":1,"Toolbar":{"Position":1,"IsSubmit":true,"IsPrint":true,"IsPrintAll":false,"IsReset":true,"IsUpdate":true},"ConfigureSubmit":{"IsShowCaptcha":false,"IsUseSscWebServer":true,"ReceiverCode":"","IsFreeService":false,"IsAdvanceService":false,"IsSecureEmail":false,"IsDemonstrationService":true,"AfterSuccessfulSubmit":"","AfterFailSubmit":"","AfterCancelWizard":"","IsUseOwnWebServer":false,"OwnWebServerURL":"","OwnWebServerTarget":"","SubmitTarget":0},"IgnoreBgInputCell":false,"ButtonStyle":0,"ResponsiveDesignDisabled":false,"HideLookupRange":false,"BrowserStorageEnabled":false,"RealtimeSyncEnabled":true,"GoogleAnalyticsTrackingId":"","GoogleApiKey":"","ChartSelected":3,"ChartYAxisFixed":false} | {"BrowserAndLocation":{"ConversionPath":"C:\\Users\\Alice\\Documents\\SpreadsheetConverter","SelectedBrowsers":[]},"SpreadsheetServer":{"Username":"","Password":"","ServerUrl":""},"ConfigureSubmitDefault":{"Email":"","Free":false,"Advanced":false,"AdvancedSecured":false,"Demo":true},"MessageBubble":{"Close":false,"TopMsg":0},"CustomizeTheme":{"Theme":""},"QrSetting":{"ShowOnConversion":true},"CongratsPage":{"LastOpenedVersion":""},"WordPressPluginSetting":{"IsPluginInstalled":false},"Preferences":{"IsAdvancedSettingModelInitialize":true,"IsCaptchaInitialize":true,"IsNodeSettingInitialize":false,"IsRequiredFieldModalInitialize":true,"IsSubmitDialogModelInitialize":true,"IsToolbarButtonModelInitialize":true,"IsWizardButtonModelInitialize":true,"ReadFromHidden":false,"AdvancedSetting":null,"NodeSetting":{"LoginText":{"LoginButtonText":"Login","PageDescription":"Restricted access only","LoginErrorMessage":"Authentication failed, please check your username and password.","PlaceholderPassword":"password","PlaceholderUsername":"username / email","UserExtraMessage":""}},"Captcha":{"Heading":"Enter the number displayed below.","Message":"This is to verify that you are a human visitor, to prevent automated form submissions.","OkButton":"OK","CancelButton":"Cancel","ErrorMessage":"Your answer is incorrect, please try again."},"RequiredField":{"ErrorMessage":"The fields with the red border are required or invalid.","OkButton":"OK","DDLDefaultRequiredText":"Please Select"},"WizardButton":{"Next":"Next","Previous":"Previous","Cancel":"Cancel","Finish":"Finish"},"ToolbarButton":{"Submit":"Submit","Print":"Print","PrintAll":"Print All","Reset":"Reset","Update":"Update","Back":"Back"},"SubmitDialog":{"SubmitDialogHeading":"Submit Successful.","SubmitDialogDesc":"The form was successfully submitted.","BeforeSubmitDesc":"The form is being submitted.","OfflineHeading":"Save until online","OfflineDesc":"You are currently offline and the submit failed. Do you want to save the submit and send it later when you are online.","OfflineConfirm":"Do you want to save?","OfflineSubmitHeading":"Offline forms submit confirmation","OfflineSubmitDesc":"There are Offline form(s), which are now ready to submit in server.","OfflineSubmitConfirm":"Do you want to submit?","FailOfflineHeading":"Offline Form submit failed","FailOfflineDesc":"Unable to connect to the Internet. Please try submitting the offline forms later in internet connection.","OfflineSubmitWait":"It may take sometime to finish all submits depending on the size of offline forms and internet connection.","OfflineSubmitWaitCounter":"Left","OfflineSubmitError":"Submit error: Please try later."}},"UxPreferences":null}
{"IsHide":false,"HiddenInExcel":false,"SheetId":-1,"Name":"Foglio2","Guid":"JT1JN6","Index":2,"VisibleRange":"","SheetTheme":{"TabColor":"","BodyColor":"","BodyImage":""}}